## Design
Design flow | 42 | L/s
Static head | 18 | m
Pipe length | 140 | m
Pipe internal diameter | 150 | mm
Darcy friction factor | 0.02
Pump efficiency | 0.72
Safety factor | 0.15
Fluid density | 998 | kg/m3
Gravity | 9.81 | m/s2

## Sizing
Flow rate | m3/s
Pipe diameter | m
Cross-sectional area | m2
Flow velocity | m/s
Velocity head | m
Friction head loss | m
Total dynamic head | m
Hydraulic power | kW
Shaft power | kW
Minimum pump flow | L/s
Required motor rating | kW

## Catalog
Pump ID | Max flow (L/s) | Max head (m) | Motor (kW) | Eligibility
P-120 | 45 | 25 | 11
P-180 | 58 | 36 | 18.5
P-250 | 80 | 48 | 30
Selected pump