## Inputs
Cooling-Water Pump Design Brief
Input | Value | Unit
Design flow | 42 | L/s
Static head | 18 | m
Pipe length | 140 | m
Pipe inside diameter | 150 | mm
Darcy friction factor | 0.02 | dimensionless
Pump efficiency | 72% | fraction
Safety factor | 15% | fraction
Fluid density | 998 | kg/m³
Gravity | 9.81 | m/s²

## Unit_Conversions
Unit Conversions
Quantity | Source value | Converted value | Unit
Flow |  |  | m³/s
Pipe diameter |  |  | m
Cross-sectional area |  |  | m²

## Calculations
Hydraulic Calculations
Calculation | Value | Unit | Formula logic
Fluid velocity |  | m/s | Q / area
Velocity head |  | m | v² / 2g
Friction head |  | m | f × L/D × velocity head
Total dynamic head |  | m | (static + friction) × safety
Hydraulic power |  | kW | ρgQH / 1000
Required shaft power |  | kW | hydraulic power / efficiency
Minimum required flow |  | L/s | design flow × safety
Minimum motor rating |  | kW | shaft power × safety

## Equipment_Selection
Pump Catalog and Eligibility
Pump | Max flow (L/s) | Max head (m) | Motor (kW) | Eligibility | Reason
P-120 | 45 | 25 | 11
P-180 | 58 | 36 | 18.5
P-250 | 80 | 48 | 30
Selected pump
Selection check

## Checks
Sizing Checks
Check | Actual | Expected | Status | Notes
Conversion: L/s to m³/s |  | 0.042 |  | Design flow / 1000
Head safety factor applied |  |  |  | TDH must exceed static + friction
Selected pump eligible |  | PASS |  | Catalog constraints
Units preserved |  |  |  | No input unit edits