## Inputs
Secondary-Loop Process-Water Pump Design Brief
Input | Value | Unit
Design flow | 36 | L/s
Static head | 16 | m
Pipe length | 210 | m
Pipe inside diameter | 125 | mm
Darcy friction factor | 0.021 | dimensionless
Pump efficiency | 76% | fraction
Safety factor | 12% | fraction
Fluid density | 997 | kg/m³
Gravity | 9.81 | m/s²

## Unit_Conversions
Unit Conversions
Quantity | Source value | Converted value | Unit
Flow | 36 |  | m³/s
Pipe diameter | 125 |  | m
Cross-sectional area |  |  | m²

## Calculations
Secondary-Loop Hydraulic Calculations
Calculation | Value | Unit | Formula logic
Fluid velocity |  | m/s | Q / area
Velocity head |  | m | v² / 2g
Friction head |  | m | f × L/D × velocity head
Total dynamic head |  | m | (static + friction) × safety
Hydraulic power |  | kW | ρgQH / 1000
Required shaft power |  | kW | hydraulic power / efficiency
Minimum required flow |  | L/s | design flow × safety
Minimum motor rating |  | kW | shaft power × safety

## Equipment_Selection
Secondary-Loop Pump Catalog and Eligibility
Pump | Max flow (L/s) | Max head (m) | Motor (kW) | Eligibility | Reason
H-080 | 38 | 28 | 15
H-140 | 52 | 40 | 22
H-220 | 74 | 52 | 30
Selected pump
Selection check

## Checks
Secondary-Loop Sizing Checks
Check | Actual | Expected | Status | Notes
Conversion: L/s to m³/s | 0 | 0.036 | CHECK | Design flow / 1000
Head safety factor applied | -16 |  | CHECK | TDH must exceed static + friction
Selected pump eligible | 0 | PASS | CHECK | Catalog constraints
Units preserved |  |  |  | No input unit edits